There are two types of heat exchangers:

· recuperative type

· regenerative type
Let’s consider the using of regenerative type of heat exchanger (volume 50 liters) in combined (heating and cooling) system of thermal management. Water is using as a working substance. Working cycle: during 2 hours – accumulation of energy, during 8 hours – recoil of energy (as for the accumulation of heat as well as for the accumulation of cold).

[image: image9.png]



Power intensity regenerative exchanger in the kJ in the range working temperature from -20 °C to +90°C.
[image: image2.png]Energy, k

40000

35000

30000

25000

20000

15000

10000

5000

Energy capacity exchanger

-

/

/

0 20 40 60
Temperature, °C

ww=lce e==Phase transition e===Water

80

100





Maximum of power consuming by the regenerator at cycle of accumulation energy during 2 hours in the range of working temperatures from -20 °C to +90 °C.
[image: image3.png]Power, kW

Maximum of power consumption by the regenerator
at cycle of energy accumulation during 2 hours, kW

6,00

5,00

4,00

3,00

2,00

1,00

-20 0 20 40 60 80 100

Working temperatures, °C

Accumulati
on of cold

Water

«=» Accumulati
on of cold

«==Phase
transition

L-S
== Accumulati

on of cold

—|ce

Accumulati
on of heat

Ice

<==Accumulati
on of heat

«==Phase
transition

S-L
<€=Accumulati

on of heat

eV ater





Maximum of power returning by the regenerator at cycle of return of energy during 8 hours in the range of working temperatures from -20 °C to +90 °C.

[image: image4.png]Power, kW

Maximum of returning power by the regenerator

at cycle of return of energy during 8 hours, kW

1,40

1,20

1,00

0,80

0,60

0,40

0,20

Working temperatures, °C

Return of
cold

Ice

<~=Return of
cold

«==Phase
transition
S-L

<=Return of
cold

e==\Nater

Heat
recovery

Water

== Heat

recovery

«===Phase
transition
LS

«=p Heat

recovery

—|ce





Consumed power by the regenerator at cycle of accumulation of energy during 2 hours in the range of working temperatures from -20°C to +90 °C for the starting temperature of the coolant (0, 20 and 40 °C).
Combined operating mode (accumulation of cold or of heat) is reflected on the graph.
[image: image5.png]Consumed power by the regenerator
. : «The temperature of
for combined operating mode regenerator is equal to
at cycle of accumulation of energy 2 hours, kW given of the coolant

temperature =40 °C

Consumed power by
the regenerator at cycle
of accumulation of heat

4,00 from 40t0 90 °C
Consumed power by
the regenerator at cycle

3,50

of accumulation of cold
from 40to-20 °C
@s===The temperature of
3,00 regenerator is equal to
given of the coolant
temperature =20 °C
Consumed power by
the regenerator at cycle
of accumulation of heat
from 20to 90 °C
Consumed power by
the regenerator at cycle
of accumulation of cold
from 20to-20 °C
@===The temperature of
regenerator is equal to
given of the coolant
temperature =0°C
Consumed power by
the regenerator at cycle
of accumulation of heat
from0to 90 °C
Consumed power by

-20 0 20 40 60 80 100 the regenerator at cycle
. of accumulation of cold
Working temperatures, °C from 0to -20 °C

~
%
=]
I
I

Power, kW

e
wu
o

1,00

050

0,00





Returned power by the regenerator at cycle of return of energy during 8 hours in the range of working temperatures from -20 °C to +90 °C for thermostatted (permanent maintained) temperature of the coolant (0, 20 and 40 ° C).
Combined operating mode (return of cold or of heat) reflected on the graph.
[image: image6.png]0,8

0,6

Power, kW

04

0,2

Returned power by the regenerator

at cycle of return of during energy 8 hours, kW

20 40 60 80

Working temperatures, °C

100

= Constant temperature

of the coolant =40°C

Returned power by the
regenerator at cycle of
return of heat from 90
to40°C

(Retumed power by the

regenerator at cycle of
return of cold from -20
to40°C

ws=Constant temperature

of the coolant =20°C

Returned power by the
regenerator at cycle of
return of heat from 90
to20°C

(Retumed power by the

regenerator at cycle of
return of cold from -20
to20°C

ws==Constant temperature

of the coolant =0 °C

Returned power by the
regenerator at cycle of
return of heat from 90
to0°C

Returned power by the
regenerator at cycle of
return of cold from -20
to0°C






































5

[image: image1][image: image7.png]


[image: image8.png]


